## Лист1
Kategooria | Tootja | number | Sisendpinge | Väljundpinge | Elektrivool | Kogus | Hind | Link
CIRCUIT BREAKER | ETI POLAM | 2141508 |  |  | 2A | 1 | 5.92 | https://www.tme.eu/ee/ru/details/002141508/vykliuchateli-maksimalnogo-toka/eti-polam/etimat-6-1p-c2/
Power Supplies | MEAN WELL USA Inc. | MDR-10-5 |  | 5V | 2A | 1 | 12.1 | https://www.tme.eu/ee/ru/details/mdr-10-5/bloki-pitaniia-na-din-reiku/mean-well/
Power Supplies | MEAN WELL USA Inc. | MDR-40-12 |  | 12V | 3A | 1 | 18.3 | https://www.tme.eu/ee/ru/details/mdr-40-12/bloki-pitaniia-na-din-reiku/mean-well/
SENSOR FLOW | DFROBOT | [5 empty] | 24.35 | https://www.tme.eu/ee/ru/details/df-sen0550/prochie-datchiki/dfrobot/sen0550/
Liquid Valve + 1N4007 Kaitse Diode | DFRobot | DF-FIT0498 | 12V |  | 0.42 A | 1 | 11.69 | https://www.tme.eu/ee/ru/details/df-fit0498/dvigateli-dc/dfrobot/fit0498/
pH Sensor TEST | DFROBOT | DF-SEN0161 | 5V | 0,41412 V |  | 1 | 34.9 | https://www.tme.eu/ee/ru/details/df-sen0161/klimaticheskie-datchiki/dfrobot/sen0161/
Proximity Sensors (PNP / NO) | LANBAO | LR12AN04DPO-E2 | 10V ~ 30V |  |  | 1 | 12.43 | https://www.tme.eu/ee/ru/details/lr12an04dpo-e2/datchiki-induktsionnye-tsilindricheskie-dc/lanbao/
Proximity Sensors (PNP / NC) | LANBAO | LR12BF02DPC-E2 | 10V ~ 30V |  |  | 1 | 11.75 | https://www.tme.eu/ee/ru/details/lr12bf02dpc-e2/datchiki-induktsionnye-tsilindricheskie-dc/lanbao/lr12xbf02dpc-e2/
I2C/SPI CHARACTER LCD BACKPACK | Adafruit Industries LLC | 1528-1446-ND |  |  |  |  | 9.25 | https://www.mouser.ee/ProductDetail/Adafruit/292?qs=GURawfaeGuCuq8Xj%2FV2Tyw%3D%3D
Connectors | Phoenix Contact | 277-11104-ND
Connectors | Phoenix Contact | 277-9621-ND
Connectors | Phoenix Contact | 277-17439-ND
Terminal Block Jumpers | Phoenix Contact | 277-2116-ND
XLR-mini Female Sockets |  | MXLR-3G |  |  |  | 4 | 4.06 | https://www.tme.eu/ee/ru/details/mxlr-3g/razemy-mini-xlr/
XLR MaleSockets |  | MXLR-3W-C |  |  |  | 4 | 4.06 | https://www.tme.eu/ee/ru/details/mxlr-3w-c/razemy-mini-xlr/ninigi/
EASY9 24M PIND LP.UKS IP40 MOODULKILP | Schneider electric | EZ9E212S2S |  |  |  | 1 | 18.62 | https://emikson.ee/easy9-24m-pind-lpuks-ip40-moodulkilp
DIN ADAPTER - ARDUINO UNO | Adafruit Industries LLC | 485-4556 |  |  |  | 1 | 42.25 | https://www.mouser.ee/ProductDetail/Adafruit/4556?qs=sGAEpiMZZMvlX3nhDDO4ACWQfq2ABVudZeUMet7HAw8%3D
Module RTC | DFROBOT | DF-DFR0151 |  |  |  | 1 | 5.6 | https://www.tme.eu/ee/en/details/df-dfr0151/rtc-modules/dfrobot/dfr0151/
Adapter microSD | DFROBOT | DF-DFR0229 |  |  |  | 1 | 5.2 | https://www.tme.eu/ee/ru/details/df-dfr0229/adaptery/dfrobot/dfr0229/
Module: relay | DFROBOT | DF-DFR0017 | 5V |  |  | 1 | 5.64 | https://www.tme.eu/ee/en/details/df-dfr0017/relay-modules/dfrobot/dfr0017/
I2C HUB | DFROBOT | DF-DFR0759 |  |  |  | 1 | 1.77 | https://www.tme.eu/ee/ru/details/df-dfr0759/prochie-moduli/dfrobot/dfr0759/
[5 empty] | Main COMP | 140.69
[5 empty] | SEC. COMP. | 111.56
[5 empty] | KOKKU | 252.25
Note on A11: Martin Vilup: Olen Laos
Note on D5: Martin Vilup: SMC
Note on D10: Martin Vilup: Laos
Note on D11: Martin Vilup: Laos
Note on D12: Martin Vilup: Laos
Note on D13: Martin Vilup: Laos
Note on D14: Martin Vilup: Laos